## Slide 1: Holmes Hall - Chiller Plant
MCC
Chiller

## Slide 2: MCC – Motor Control Center
MCC
Pumps (Motors)
Circuit Breakers
CT cabinet
Power
MCC – like a circuit breaker panel, but for industrial sized Motors

## Slide 3: CT – Current Transformer – Measures Current usage
CT cabinet
CTs
MCC
Zoom in 1
Zoom in 2

## Slide 4: A basic meter
CTs
Meters

## Slide 5: MCC – Motor Controler
MCC – Motor Control Center
MCU - Motor Controller Unit
MCU